LED ceiling- and wall-mounted luminaire, MAVS. Housing made from aluminium, white, powder-coated. Diffuser made from plastic (PMMA), opal, UV-stabilised. Operating unit can be switched or dimmed (DALI dimmer), integrated. Version with
CASAMBI® Bluetooth control available. DC compatible.

label.zuordnungsspeicher.gruppe.Dimensions:

label.zuordnungsspeicher.Width: 59 mm

label.zuordnungsspeicher.Height: 79 mm

label.zuordnungsspeicher.Length: 1975 mm

label.zuordnungsspeicher.gruppe.PackageDimensions:

label.zuordnungsspeicher.Width: 123 mm

label.zuordnungsspeicher.Height: 101 mm

label.zuordnungsspeicher.Length: 2010 mm

label.zuordnungsspeicher.gruppe.ColorInformation:

label.zuordnungsspeicher.gruppe.MaterialData:

label.zuordnungsspeicher.gruppe.RatingsCertifications:

label.zuordnungsspeicher.IngressProtection: wert.IngressProtection.IP 40

label.zuordnungsspeicher.gruppe.ElectricalConnectionLight:

label.zuordnungsspeicher.ContinuousPower: 61 W

label.zuordnungsspeicher.MaxInputVoltageAC: 220-240V / 50-60Hz V

label.zuordnungsspeicher.gruppe.PowerSupplyGeneral:

label.zuordnungsspeicher.DCSuitable: wert.DCSuitable.Ja

label.zuordnungsspeicher.gruppe.LightData:

label.zuordnungsspeicher.LightSource: wert.LightSource.LED

label.zuordnungsspeicher.LuminousFluxIlluminant: 6100 lm

label.zuordnungsspeicher.Colortemperature: 3000 K

label.zuordnungsspeicher.UGR: 26.2

label.zuordnungsspeicher.gruppe.Temperatures:

label.zuordnungsspeicher.gruppe.Mounting:

Brand: RP-Technik GmbH