LED emergency luminaire in accordance with DIN EN 60598-1, DIN EN 60598-2-22, and DIN EN 1838.

Round LED emergency luminaire made of die-cast zinc for ceiling installation. The high-performance LED ensures optimal light distribution and illumination of escape and rescue routes, even with high ceilings.
Easy installation is achieved with spring-loaded mounting.

Material: Zinc die-cast

Color: RAL 9003

Diameter: 88mm

Mounting method: Deckeneinbau

Protection class: 2

Protection rating (IP): IP 40

Impact restistence rate IK: IK 8

Allowed temperature DS: -10°C to 50°C °C

Allowed temperature BS: -10°C to 50°C °C

Pictogram: Nein

Power maintained mode: 7,1W W

Power non-maintained mode: 0W W

Luminous Flux Emergency Operation: 825lm lm

Input voltage AC: 230V V

Connection terminals: 1.5mm² mm

Battery:

Article number: DDE039

Accessories:

Article number: BALLPLX-ILE, Ball protection  190x190x62mm incl. fastening Plexiglas clear for ILE

Brand: RP-Technik GmbH