LED emergency luminaire in accordance with DIN EN 60598-1, DIN EN 60598-2-22, and DIN EN 1838.

Round LED emergency luminaire made of die-cast zinc for ceiling installation. The high-performance LED ensures optimal light distribution and illumination of escape and rescue routes, even with high ceilings.
Easy installation is achieved with spring-loaded mounting.

Switch-mode power supply up to 5W for LED lights Set-up of various output voltages (3.3V/5V/12V/24V) possible. The NT24 power supply can be used in conjunction with a monitoring module for use in the following emergency light system types: my-, micro-, mini-, midi and multiControl. The respective output voltage is set via the switch.

Material: Zinc die-cast

Color: RAL 9003

Diameter: 88 mm

Mounting method: Deckeneinbau

Protection class: 2

Protection rating (IP): IP 40

Impact restistence rate IK: IK 8

Allowed temperature DS: -10 °C to 50 °C °C

Allowed temperature BS: -10 °C to 50 °C °C

Pictogram: Nein

Power maintained mode: 7,1 W W

Power non-maintained mode: 0 W W

Luminous Flux Emergency Operation: 825 lm lm

Input voltage AC: 230 V V

Connection terminals: 1.5 mm² mm

Battery:

Article number: DDE039

Accessories:

Article number: BALLPLX-ILE, Ball protection  190x190x62mm incl. fastening Plexiglas clear for ILE

Brand: RP-Technik GmbH