Monitoring:

With integrated monitoring module with 20-digit addressing switch, for operation on a central power supply system. Automatic test system according to DIN EN 62034 type ER, in connection with a system of type MultiControl. Functions must be complied with:

- Integrated individual luminaire monitoring

- Integrated luminaire manager function

- Individual switchability in conjunction with RP ELS - central power supply system

Mounting method: Wandeinbau

Protection class: 1

Viewing distance: 20m m

Pictogram: Set

Power maintained mode: 3,7 W W

Power non-maintained mode: 1,1 W W

Luminous Flux Emergency Operation: 120 lm lm

Input voltage AC: 230 V V

Connection terminals: 2.5 mm² mm

Battery:

Article number: UEMR019ML

Accessories:

Brand: RP-Technik GmbH