Monitoring:

With integrated monitoring module for operating on a Wireless Professional central monitoring system.

- Charge monitoring indicator on the luminaire

- Manual or automatic function test (free choice of test start time in the WirelessControl software)

- Manual or automatic continuous function test can be activated via the length of the luminaire’s measurement operation (free choice of test start times in the WirelessControl software)

- Automatic charge monitoring

- Deep discharge protection with restart inhibit

Mounting method: Wandeinbau

Protection class: 1

Viewing distance: 20m m

Pictogram: Set

Article number: UEMR411WL

Accessories:

Brand: RP-Technik GmbH