Material: Plastic
Color: RAL 9003
Dimensions: 168 mm x 236 mm x 136 mm
Diameter:  mm

lbl-mountingMethod: Decke
lbl-protectionClass: 2
lbl-protectionRating: IP 65
lbl-impactResistanceRate: IK ≥ 3
Allowed temperature DS: -5 °C to 40 °C °C
Allowed temperature BS: -5 °C to 40 °C °C
Viewing distance: 20m m
Pictogram: Set

lbl-articleNumber: PMD509CC

Accessories:

Brand: RP-Technik GmbH
