Luminaire à pictogramme conforme aux normes DIN EN 60598-1, DIN EN 60598-2-22 et DIN EN 1838. 
  
Luminaire en plastique mince pour un montage universel au mur/au plafond, ainsi qu'une console murale avec l'adaptateur fourni. Avec sortie de lumière supplémentaire vers le bas. Boîtier s'ouvrant sans outils. Convient pour l'éclairage permanent ou de veille. Sécurité de planification grâce à l'utilisation variable et sans outil des pictogrammes sur place. Jeu de pictogrammes (gauche, droite, bas, haut) compris dans la livraison standard.

Surveillance:

With integrated monitoring module for operating on a Wireless Professional central monitoring system.

- Charge monitoring indicator on the luminaire

- Manual or automatic function test (free choice of test start time in the WirelessControl software)

- Manual or automatic continuous function test can be activated via the length of the luminaire’s measurement operation (free choice of test start times in the WirelessControl software)

- Automatic charge monitoring

- Deep discharge protection with restart inhibit

Matériau: Matière plastique

Couleur: RAL 9003

Dimensions: 78 mm x 390 mm x 220 mm

Diamètre:  mm

lbl-mountingMethod: Universal

lbl-protectionClass: 2

lbl-protectionRating: IP 43

lbl-impactResistanceRate: IK ≥ 3

Température permise en mode contenu: -5 °C à 40 °C °C

Température permise en mode veille: -5 °C à 40 °C °C

Distance de reconnaissance: 34m m

Pictogramme: Set

Puissance en mode continu: 7,5 W W

Puissance en mode veille: 3,6 W W

Flux lumineux en mode de secours: 150 lm lm

Tension d'entrée AC: 230 V V

Section de raccordement: 2.5 mm² mm

Batterie: NIMH1208P, {{Produkt - BatteryPerformance - BatteryTechnology (P:17:110)}} Batterie

lbl-articleNumber: KLU013WLSE

Accessoires:

lbl-articleNumber: DSA,

lbl-articleNumber: BALL2,

lbl-articleNumber: 2PW-EB

lbl-articleNumber: 2DW-EB

Marque: RP-Technik GmbH