Surveillance:

With integrated monitoring module for operating on a Wireless Professional central monitoring system.

- Charge monitoring indicator on the luminaire

- Manual or automatic function test (free choice of test start time in the WirelessControl software)

- Manual or automatic continuous function test can be activated via the length of the luminaire’s measurement operation (free choice of test start times in the WirelessControl software)

- Automatic charge monitoring

- Deep discharge protection with restart inhibit

Type de montage: Wandeinbau

Classe de protection: 1

Distance de reconnaissance: 20m m

Pictogramme: Set

Numéro d'article: UEMR413WL

Accessoires:

Marque: RP-Technik GmbH