Surveillance:

With integrated monitoring module for operating on a Wireless Professional central monitoring system.

- Charge monitoring indicator on the luminaire

- Manual or automatic function test (free choice of test start time in the WirelessControl software)

- Manual or automatic continuous function test can be activated via the length of the luminaire’s measurement operation (free choice of test start times in the WirelessControl software)

- Automatic charge monitoring

- Deep discharge protection with restart inhibit

Matériau: Matière plastique

Couleur: RAL 9003

Dimensions: 65 mm x 236 mm x 136 mm

Diamètre:  mm

lbl-mountingMethod: Wand

lbl-protectionClass: 2

lbl-protectionRating: IP 65

lbl-impactResistanceRate: IK 6

Température permise en mode contenu: -15 °C à 40 °C °C

Température permise en mode veille: -15 °C à 40 °C °C

Distance de reconnaissance: 20m m

Pictogramme: Set

lbl-articleNumber: PMW403WL-TT

Accessoires:

Marque: RP-Technik GmbH