Material: Plast

Color: RAL 9003

Dimensions: 326 mm x 50 mm x 50 mm

Diameter:  mm

lbl-mountingMethod: Universal

lbl-protectionClass: 2

lbl-protectionRating: IP 64

lbl-impactResistanceRate: IK 5

Allowed temperature DS: -30 °C to 35 °C °C

Allowed temperature BS: -30 °C to 35 °C °C

Viewing distance: 14m,22m,30m m

Pictogram: Einzeln n.A.

Power maintained mode: 4,6 W W

Power non-maintained mode: 0 W W

Luminous Flux Emergency Operation: 520 lm lm

Input voltage AC: 230 V V

Connection terminals: 1.5 mm² mm

Battery:

lbl-articleNumber: KBU029

Accessories:

lbl-articleNumber: KBK,

lbl-articleNumber: KBM,

lbl-articleNumber: KBG,

lbl-articleNumber: AWX001,

lbl-articleNumber: KBE,

lbl-articleNumber: BALLPLX-KBE,

lbl-articleNumber: BALLPLX-KBS,

lbl-articleNumber: BALLPLX-KBU,

lbl-articleNumber: 2PW-EB

lbl-articleNumber: 2DW-EB

lbl-articleNumber: KBBE

lbl-articleNumber: DSA,

Brand: RP-Technik GmbH