Material: Metall

Color: RAL 9003

Dimensions: 65 mm x 280 mm x 160 mm

Diameter:  mm

lbl-mountingMethod: Wandeinbau

lbl-protectionClass: 1

lbl-protectionRating: IP 40

lbl-impactResistanceRate: IK ≥ 3

Allowed temperature DS: -25 °C to 40 °C °C

Allowed temperature BS: -25 °C to 40 °C °C

Viewing distance: 22m m

Pictogram: Set

Power maintained mode: 4,5 W W

Power non-maintained mode: 0 W W

Luminous Flux Emergency Operation: 300 lm lm

Input voltage AC: 230 V V

Connection terminals: 1.5 mm² mm

Battery:

lbl-articleNumber: U6E019

Accessories:

lbl-articleNumber: U6BE,

Brand: RP-Technik GmbH