Material: Pressstøping av sink

Color: RAL 9003

Dimensions: 79 mm x 241 mm x 159 mm

Diameter:  mm

lbl-mountingMethod: Deckeneinbau

lbl-protectionClass: 2

lbl-protectionRating: IP 20

lbl-impactResistanceRate: IK ≥ 3

Allowed temperature DS: -20 °C to 40 °C °C

Allowed temperature BS: -20 °C to 40 °C °C

Viewing distance: 22m m

Pictogram: Set

Power maintained mode: 3,5 W W

Power non-maintained mode: 1,1 W W

Input voltage AC: 230 V V

Connection terminals: 2.5 mm² mm

Battery:

lbl-articleNumber: AMCP009ML

Accessories:

lbl-articleNumber: AM-XBE,

lbl-articleNumber: AM-X-PKG

Brand: RP-Technik GmbH