Material: Pressstøping av sink

Color: Edelstahl

Dimensions: 79 mm x 236 mm x 151 mm

Diameter:  mm

lbl-mountingMethod: Wandeinbau

lbl-protectionClass: 2

lbl-protectionRating: IP 40

lbl-impactResistanceRate: IK ≥ 3

Allowed temperature DS: -25 °C to 40 °C °C

Allowed temperature BS: -25 °C to 40 °C °C

Viewing distance: 22m m

Pictogram: Set

Power maintained mode: 2,4 W W

Power non-maintained mode: 0 W W

Input voltage AC: 230 V V

Connection terminals: 1.5 mm² mm

Battery:

lbl-articleNumber: AMR009-E

Accessories:

lbl-articleNumber: BALLPLX-AM,

lbl-articleNumber: AM-XBE,

Brand: RP-Technik GmbH