Material: Metall

Dimensions: 620 mm x 620 mm x 10 mm

Diameter:  mm

lbl-mountingMethod: Deckeneinbau

lbl-protectionClass: 2

lbl-protectionRating: IP 20

lbl-impactResistanceRate: IK ≥ 3

Allowed temperature DS: 0 °C to 40 °C °C

Allowed temperature BS: 0 °C to 40 °C °C

Pictogram: Nein

Power maintained mode: 36 W W

Power non-maintained mode: 0 W W

Luminous Flux Emergency Operation: 3600 lm lm

Battery:

lbl-articleNumber: ROPA4201

Accessories:

Brand: RP-Technik GmbH