Material: Støpt aluminium,Glass

Dimensions: 750 mm x 157 mm x 197 mm

lbl-mountingMethod: Universal

lbl-protectionClass: 1

lbl-protectionRating: IP 66

lbl-impactResistanceRate: IK 7

Allowed temperature DS: -20 °C to 55 °C °C

Allowed temperature BS: -20 °C to 55 °C °C

Pictogram: Nein

Power maintained mode: 40 W W

Luminous Flux Emergency Operation: 4600 lm lm

Input voltage AC: 230 V V

Connection terminals: 2.5 mm² mm

Battery:

lbl-articleNumber: XGMU019

Accessories:

lbl-articleNumber: X-KO001,

lbl-articleNumber: X-MB001,

lbl-articleNumber: X-KE001,

lbl-articleNumber: X4N,

Brand: RP-Technik GmbH