
Material: Plast
Color: RAL 9003
Dimensions:  mm x  mm x 98 mm
Diameter: 339 mm

lbl-mountingMethod: Universal
lbl-protectionClass: 2
lbl-protectionRating: IP 44
lbl-impactResistanceRate: IK 6
Allowed temperature DS: -5 °C to 40 °C °C
Allowed temperature BS: -5 °C to 40 °C °C
Pictogram: Nein

Power maintained mode: 17,5 W W
Power non-maintained mode: 0,5 W W
Luminous Flux Emergency Operation: 1800 lm lm

Input voltage AC: 230 V V
Connection terminals: 1.5 mm² mm

Battery: 

lbl-articleNumber: QBW009-BM

Accessories:

Brand: RP-Technik GmbH
