Material: Pressstøping av sink

Color: RAL 7016

Dimensions:  mm x  mm x 106 mm

Diameter: 363 mm

lbl-mountingMethod: Universal

lbl-protectionClass: 1

lbl-protectionRating: IP 54

lbl-impactResistanceRate: IK 10

Allowed temperature DS: -5 °C to 40 °C °C

Allowed temperature BS: -5 °C to 40 °C °C

Pictogram: Nein

Power maintained mode: 17,5 W W

Power non-maintained mode: 0,5 W W

Luminous Flux Emergency Operation: 1600 lm lm

Input voltage AC: 230 V V

Connection terminals: 1.5 mm² mm

Battery:

lbl-articleNumber: QCW009-AZ-BM

Accessories:

Brand: RP-Technik GmbH