Material: Plast

Color: RAL 9003

Dimensions: 78 mm x 390 mm x 220 mm

Diameter:  mm

lbl-mountingMethod: Universal

lbl-protectionClass: 2

lbl-protectionRating: IP 43

lbl-impactResistanceRate: IK ≥ 3

Allowed temperature DS: -5 °C to 40 °C °C

Allowed temperature BS: -5 °C to 40 °C °C

Viewing distance: 34m m

Pictogram: Set

Power maintained mode: 7,5 W W

Power non-maintained mode: 3,6 W W

Luminous Flux Emergency Operation: 150 lm lm

Input voltage AC: 230 V V

Connection terminals: 2.5 mm² mm

Battery: NIMH1208P, {{Produkt - BatteryPerformance - BatteryTechnology (P:17:110)}} Batteri

lbl-articleNumber: KLU013WLSE

Accessories:

lbl-articleNumber: DSA,

lbl-articleNumber: BALL2,

lbl-articleNumber: 2PW-EB

lbl-articleNumber: 2DW-EB

Brand: RP-Technik GmbH