Material: Plast

Color: RAL 9003

Dimensions:  mm x  mm x 84 mm

Diameter: 122 mm

lbl-mountingMethod: Deckeneinbau

lbl-protectionClass: 2

lbl-protectionRating: IP 20

lbl-impactResistanceRate: IK ≥ 3

Allowed temperature DS: -5 °C to 40 °C °C

Allowed temperature BS: -5 °C to 40 °C °C

Pictogram: Nein

Power maintained mode: 2,3 W W

Power non-maintained mode: 0,4 W W

Luminous Flux Emergency Operation: 250 lm lm

Input voltage AC: 230 V V

Connection terminals: 2.5 mm² mm

Battery: LFP3233.01, {{Produkt - BatteryPerformance - BatteryTechnology (P:17:110)}} Batteri

lbl-articleNumber: ILEL423WB

Accessories:

lbl-articleNumber: BALLPLX-ILE,

lbl-articleNumber: LSYS-B4,

lbl-articleNumber: LSYS-F4,

lbl-articleNumber: LSYS-R4,

lbl-articleNumber: LSYS-S4,

Brand: RP-Technik GmbH