Material: Pressstøping av sink

Color: RAL 9003

Dimensions: 166 mm x 21 mm x 106 mm

Diameter:  mm

lbl-mountingMethod: Wandeinbau

lbl-protectionClass: 3

lbl-protectionRating: IP 20

lbl-impactResistanceRate: IK 7

Allowed temperature DS: -5 °C to 40 °C °C

Allowed temperature BS: -5 °C to 40 °C °C

Pictogram: Nein

Power maintained mode: 3,3 W W

Power non-maintained mode: 0,4 W W

Luminous Flux Emergency Operation: 420 lm lm

Input voltage AC: 24 V V

Connection terminals: 2.5 mm² mm

Battery:

lbl-articleNumber: WEF529CC

Accessories:

Brand: RP-Technik GmbH