
Material: Plast
Color: RAL 9003
Dimensions:  mm x  mm x 84 mm
Diameter: 122 mm

lbl-mountingMethod: Deckeneinbau
lbl-protectionClass: 2
lbl-protectionRating: IP 20
lbl-impactResistanceRate: IK ≥ 3
Allowed temperature DS: -20 °C to 30 °C °C
Allowed temperature BS: -20 °C to 40 °C °C
Pictogram: Nein

Power maintained mode: 4,6 W W
Power non-maintained mode: 1,2 W W
Luminous Flux Emergency Operation: 360 lm lm

Input voltage AC: 230 V V
Connection terminals: 2.5 mm² mm

Battery: 

lbl-articleNumber: ILEL029ML

Accessories:
lbl-articleNumber: BALLPLX-ILE, 
lbl-articleNumber: ILE-OEF-PC, 

Brand: RP-Technik GmbH
