Material: Plast

Color: RAL 9003

Dimensions: 86 mm x 390 mm x 99 mm

lbl-mountingMethod: Universal

lbl-protectionClass: 2

lbl-protectionRating: IP 65

lbl-impactResistanceRate: IK 6

Allowed temperature DS: -5 °C to 40 °C °C

Allowed temperature BS: -5 °C to 40 °C °C

Pictogram: Nein

Power maintained mode: 5,7 W W

Power non-maintained mode: 0,8 W W

Luminous Flux Emergency Operation: 245 lm lm

Input voltage AC: 230 V V

Connection terminals: 2.5 mm² mm

Battery: LFP3233-SET-2AKKU

lbl-articleNumber: KWIW428WL

Accessories:

lbl-articleNumber: BKW,

lbl-articleNumber: LSYS-B4,

lbl-articleNumber: LSYS-F4,

lbl-articleNumber: LSYS-H4,

lbl-articleNumber: LSYS-R4,

lbl-articleNumber: LSYS-S4,

lbl-articleNumber: LFP3233-SET-2AKKU

Brand: RP-Technik GmbH