Material: Plast

Color: RAL 9003

Dimensions: 168 mm x 236 mm x 136 mm

Diameter:  mm

lbl-mountingMethod: Decke

lbl-protectionClass: 2

lbl-protectionRating: IP 65

lbl-impactResistanceRate: IK ≥ 3

Allowed temperature DS: -5 °C to 40 °C °C

Allowed temperature BS: -5 °C to 40 °C °C

Viewing distance: 20m m

Pictogram: Set

lbl-articleNumber: PMD509CC

Accessories:

Brand: RP-Technik GmbH