Material: Pressstøping av sink

Color: RAL 9003

Dimensions: 58 mm x 262 mm x 188 mm

Diameter:  mm

lbl-mountingMethod: Decke

lbl-protectionClass: 1

lbl-protectionRating: IP 65

lbl-impactResistanceRate: IK 8

Allowed temperature DS: -5 °C to 40 °C °C

Allowed temperature BS: -5 °C to 40 °C °C

Pictogram: Nein

Power maintained mode: 5,7 W W

Power non-maintained mode: 0,8 W W

Luminous Flux Emergency Operation: 520 lm lm

Input voltage AC: 230 V V

Connection terminals: 2.5 mm² mm

Battery: LFP3233-SET-2AKKU

lbl-articleNumber: FMDS423WL

Accessories:

lbl-articleNumber: FMDA001,

lbl-articleNumber: FMDA002,

lbl-articleNumber: FMDA001-AZ,

lbl-articleNumber: FMDA002-AZ,

lbl-articleNumber: FMWA001,

lbl-articleNumber: FMFH,

Brand: RP-Technik GmbH