Material: Plast

Color: RAL 9003

Dimensions:  mm x  mm x 98 mm

Diameter: 339 mm

lbl-mountingMethod: Universal

lbl-protectionClass: 2

lbl-protectionRating: IP 44

lbl-impactResistanceRate: IK 6

Allowed temperature DS: -5 °C to 40 °C °C

Allowed temperature BS: -5 °C to 40 °C °C

Pictogram: Nein

Power maintained mode: 17 W W

Power non-maintained mode: 0,8 W W

Luminous Flux Emergency Operation: 470 lm lm

Input voltage AC: 230 V V

Connection terminals: 2.5 mm² mm

Battery: LFP3212-LEO, {{Produkt - BatteryPerformance - BatteryTechnology (P:17:110)}} Batteri

lbl-articleNumber: QBW421WL

Accessories:

Brand: RP-Technik GmbH