
Material: Plast
Color: RAL 9003
Dimensions: 326 mm x 50 mm x 50 mm
Diameter:  mm

lbl-mountingMethod: Universal
lbl-protectionClass: 2
lbl-protectionRating: IP 64
lbl-impactResistanceRate: IK 5
Allowed temperature DS: -5 °C to 35 °C °C
Allowed temperature BS: -5 °C to 40 °C °C
Viewing distance: 14m,22m,30m m
Pictogram: Einzeln n.A.

Power maintained mode: 4,3 W W
Power non-maintained mode: 0,7 W W

Input voltage AC: 230 V V
Connection terminals: 2.5 mm² mm

Battery: LFP3216-SET-2AKKU

lbl-articleNumber: KBU411WL

Accessories:
lbl-articleNumber: LFP3216-SET-2AKKU

Brand: RP-Technik GmbH
