Material: Plast

Color: RAL 9003

Dimensions: 212 mm x 31 mm x 141 mm

Diameter:  mm

lbl-mountingMethod: Universal

lbl-protectionRating: IP 40

lbl-impactResistanceRate: IK 5

Allowed temperature DS: -30 °C to 40 °C °C

Allowed temperature BS: -30 °C to 40 °C °C

Viewing distance: 20m m

Pictogram: Set

Power maintained mode: 2,7 W W

Power non-maintained mode: 0,9 W W

Battery:

lbl-articleNumber: KFMU009ML

Accessories:

Brand: RP-Technik GmbH