Material: Plast

Color: RAL 9003

Dimensions: 34 mm x 250 mm x 174 mm

Diameter:  mm

lbl-mountingMethod: Universal

lbl-protectionClass: 2

lbl-protectionRating: IP 54

lbl-impactResistanceRate: IK ≥ 3

Allowed temperature DS: -5 °C to 40 °C °C

Allowed temperature BS: -5 °C to 40 °C °C

Viewing distance: 22m m

Pictogram: Set

Power maintained mode: 3,9 W W

Power non-maintained mode: 1,5 W W

Luminous Flux Emergency Operation: 190 lm lm

Input voltage AC: 230 V V

Connection terminals: 2.5 mm² mm

Battery: LFP3233.01, {{Produkt - BatteryPerformance - BatteryTechnology (P:17:110)}} Batteri

lbl-articleNumber: KSU011WL-SW

Accessories:

lbl-articleNumber: KME-EB,

lbl-articleNumber: AWKSU,

lbl-articleNumber: 2PW-EB

lbl-articleNumber: KMBE,

lbl-articleNumber: BALLPLX-KMU,

lbl-articleNumber: DSA,

lbl-articleNumber: KSE-MB-WS,

lbl-articleNumber: KSE-MB-SI,

Brand: RP-Technik GmbH